Securing IoT Medical Devices Against Unauthorised Access

Instructor Author¹*, Demo Researcher²

¹ Training Institute, 123 Learning Road, Kuwait City, Kuwait; instructor@example.com

² Accessibility Lab, 45 Innovation Avenue, Kuwait City, Kuwait; demo@example.com

* Correspondence: instructor@example.com

# Abstract

Note: This is a fake research paper generated as a hands-on exercise for practising academic typesetting using Overleaf with standard journal templates. Internet-of-Things (IoT) medical devices such as insulin pumps and pacemakers are increasingly connected to hospital networks, exposing them to cyber attacks. This paper proposes MedShield, a lightweight intrusion detection system (IDS) tailored for resource-constrained medical IoT devices. Evaluation on a testbed of 12 device types achieves 96.7% attack detection rate with a false alarm rate of 1.8%.

Keywords: IoT security, medical devices, firmware security, intrusion detection, healthcare

# 1.  Introduction

The proliferation of connected medical devices has transformed patient care but introduced critical security vulnerabilities [Martin & Clark, 2022]. High-profile incidents, including the recall of 465,000 pacemakers due to cybersecurity flaws, underscore the life-safety implications of IoT medical device security [Taylor & Brown, 2023]. MedShield addresses this by deploying a behaviour-based IDS directly on the device. The paper is organised as follows: Section 2 reviews related work; Section 3 describes MedShield; Section 4 reports results; Section 5 concludes.

# 2.  Related Work

## 2.1  Prior Studies

Taylor and Brown [Taylor & Brown, 2023] surveyed 200 medical IoT devices and found that 73% used outdated firmware with known vulnerabilities. Martin and Clark [Martin & Clark, 2022] demonstrated a proof-of-concept attack on a commercial insulin pump, altering dosage commands via Bluetooth.

## 2.2  Research Gaps

Existing IDS solutions for IoT devices are typically too resource-intensive for medical devices with limited CPU and memory [Bormann et al., 2014]. MedShield uses a compact decision-tree model (under 50 KB) that runs within the constraints of ARM Cortex-M microcontrollers.

# 3.  Methodology

## 3.1  System Overview

MedShield consists of three components: (1) a Network Traffic Monitor, (2) a Behaviour Profiler, and (3) a Lightweight IDS Engine. Figure 1 shows the deployment architecture.

Figure 1: System Architecture and Processing Pipeline

## 3.2  Component A

The Network Traffic Monitor captures packet headers at the device's wireless interface, extracting 22 features including inter-arrival time, packet size, and protocol type. Feature extraction runs in under 0.3 ms per packet.

## 3.3  Component B

The Behaviour Profiler builds a statistical baseline of normal device operation over a 7-day learning period. Anomalies are flagged when observed behaviour deviates beyond 3 standard deviations from the baseline.

## 3.4  Component C

The Lightweight IDS Engine uses a pruned decision tree (depth = 8) trained on the CICIDS-2018 dataset augmented with medical device traffic traces. The model occupies 47 KB of flash memory and 12 KB of RAM.

# 3.5  Simple Equation for Anomaly Score

The anomaly score is calculated by comparing the current traffic value with the normal baseline value:

Anomaly Score = |Current Value - Baseline Mean| / Baseline Standard Deviation          (1)

As shown in Equation (1), a larger anomaly score indicates traffic behaviour that is farther from the normal medical device baseline.

# 4.  Experimental Setup

## 4.1  Dataset and Evaluation Metrics

Experiments were conducted on publicly available benchmark datasets. Standard evaluation metrics including accuracy, precision, recall, and F1-score were computed. All experiments were repeated five times and mean values are reported. The following evaluation criteria were applied:

Medical IoT device categories included in the testbed

Implantable devices: pacemakers and insulin pumps (simulated)

Wearable monitors: continuous glucose monitors and ECG patches

Networked infusion pumps and ventilator controllers

Attack types evaluated against MedShield

Replay attacks: retransmitting captured legitimate packets

Command injection: inserting malicious control commands via Bluetooth

Denial-of-service: flooding the device wireless interface

## 4.2  Baseline Systems

Three baseline systems were selected for comparison based on their prominence in recent literature. Hyperparameters for all baselines were tuned using the same validation set to ensure a fair comparison. The experimental procedure followed these steps:

Deploy MedShield firmware on all 12 device types in the testbed.

Allow the Behaviour Profiler a 7-day learning period under normal operation.

Execute each of the three attack types 100 times per device category.

Record detection rate, false alarm rate, and CPU/memory consumption.

Compare results against signature-based and anomaly-based baseline IDS.

Validate that MedShield does not interfere with normal device operation.

# 5.  Results and Discussion

## 5.1  Quantitative Results

Table 1 and Figure 2 compare MedShield against signature-based and anomaly-based baselines. MedShield achieves 96.7% detection rate and 1.8% false alarm rate, while consuming only 3.2% of the device CPU [Taylor & Brown, 2023].

Figure 2: Performance Comparison Against Baselines

Table 1: Quantitative Comparison of the Proposed System Against Baselines

| System | Detection Rate | False Alarm Rate | CPU Usage |
| --- | --- | --- | --- |
| Signature-Based IDS | 81.2% | 12.4% | 8.1% |
| Anomaly-Based IDS | 88.5% | 6.8% | 5.4% |
| MedShield (Ours) | 96.7% | 1.8% | 3.2% |

## 5.2  Discussion

The behaviour profiling component is critical for detecting novel attacks not present in the training data. The 7-day learning period is a practical limitation in clinical settings where devices are frequently reconfigured. Future work will explore transfer learning to reduce the learning period to 24 hours.

# 6.  Conclusion

MedShield provides effective, lightweight intrusion detection for IoT medical devices. The 96.7% detection rate and minimal resource footprint make it suitable for deployment on existing hardware without firmware replacement. Future work will extend MedShield to support encrypted traffic analysis.

# References

[Taylor & Brown, 2023]  Taylor, D. and Brown, R. "Medical IoT Security: Vulnerabilities and Mitigations." IEEE IoT Journal, 2023.

[Martin & Clark, 2022]  Martin, K. and Clark, S. "Hacking Insulin Pumps: A Proof-of-Concept Study." Proc. Black Hat USA, 2022.

[Bormann et al., 2014]  Bormann, C., Ersue, M. and Keranen, A. "Terminology for Constrained-Node Networks." IETF RFC 7228, 2014.